## Sheet1
Sample _ID | Vial_# | Date | Time | Conductivity | units | Notes | Diluted | General notes: calibrated before running samples to 99.3 uS/cm standard, after calibrating standard read as 99.98. Rinsed 2x with DI water before 1x sample rinse and then measuring 1x with sample (sample volume limited)
TMP_C_C6 |  | 20230628 |  | 69.97 | uS |  | no
TMP_FW_D5 |  | 20230608 |  | 56.74 | uS |  | no
TMP_EST_D1C |  |  | 1100 | 12.43 | mS |  | no
TMP_C_POOLED_T2_ | 32 | NA |  | 18.96 | uS | 3x DI rinse then shaken out as much as possible (not enough volume for sample rinse), Not much volume. Sample went just above sensor but not enough to fill entire cell | no
TMP_FW_WELL_T1 | 27 | NA |  | 44.6 | uS |  | no
TMP_SW_POOLED_T2 | 18 | NA |  | 8225 | uS |  | no
TMP_SW_H3 |  | 20230627 |  | 3696 | uS | Not much volume. Had enough to fill the chamber | no
TMP_FW_F4 |  | 20230608 |  | 62.96 | uS |  | no
TMP_EST_D10C |  | 202206 |  | 11.71 | mS | MUCHO | no
TMP_FW_POOLED | 28 | 20220613 |  | 73.04 | uS |  | no
TMP_C_POOLED | 31 | 20220615 |  | 38.66 | uS |  | no
TMP_SW_WELL_T3 | 14 | NA |  | 4309 | uS | NOT A LOT | no
TMP_FW_I5 |  | 20230627 |  | 160.1 | uS | NOT A LOT. Had enough to fill the chamber. Value seems high for FW | no
TMP_SW_B4 |  | 20230608 |  | 10.23 | mS | NOT A LOT | no
TMP_SW_WELL_T2 | 33 | NA |  | 5111 | uS | NOT A LOT | no
TMP_C_POOLED_T4 | 37 | NA |  | 35.52 | mS | NOT A LOT | no
TMP_FW_H6_T2 | 11 | 1600 | 1600 | 76.44 | uS | PLENTY | no
TMP_C_F6 |  | 20230628 |  | 22.16 | uS | NOT A LOT | no
TMP_FW_C3 |  | 20230607 |  | 75.3 | uS | VERY LITTLE | no
TMP_SW_POOLED_T3 | 38 | NA |  | 7751 | uS | VERY LITTLE | no
TMP_SW_SOURCE_hr5 | 36 | NA |  | 12.82 | mS | NOT A LOT | no
TMP_SW_SOURCE_hr3 | 17 | NA |  | 3571 | uS | VERY LITTLE | yes
TMP_FW_B4 |  | 20230627 | 800 | 45.74 | uS | VERY LITTLE | no | Triple DI rinse. Had enough to fill the chamber
TMP_FW_C3 |  | 20230607 |  | 73.06 | uS | NOT A LOT | no
TMP_SW_POOLED_T4 | 39 | NA |  | 5946 | uS | NOT A LOT | no
TMP_FW_SOURCE_hr1 | 26 | NA |  | 119 | uS | NOT A LOT | no
TMP_FW_WELL_T3 | 7 | NA |  | 57.95 | uS | NOT A LOT | no
TMP_SW_D5 |  | 20230627 |  | 3523 | uS |  | no
TMP_SW_C3 |  | 20230614 |  | 1782 | uS | VERY LITTLE | yes
TMP_EST_BARGE_hr8 | 10 | NA |  | 12.47 | mS | NOT A LOT | no
TMP_SW_POOLED_T1 | 25 |  |  | 4040 | uS | MUCHO | no
TMP_SW_POOLED | 9 | 20220613 |  | 28.72 | mS | MUCHO | no
TMP_SW_F6 |  | 20230627 |  | 5257 | uS | VERY LITTLE | no
TMP_FW_SOURCE |  | 20230606 | 1511 | 104.8 | uS | VERY LITTLE | no | Did not have enough to fill chamber completely
TMP_FW_POOLED_T0 | 29 | NA |  | 206.2 | uS | NOT A LOT | no
TMP_FW_POOLED_T1 | 24 | NA |  | 76.95 | uS | MUCHO | no
TMP_EST_BARGE_HR4 | 8 | NA |  | 12.87 | mS | MUCHO | no
TMP_C_H6 |  | 20230628 |  | 43.31 | uS | NOT A LOT | no
TMP_FW_SOURCE |  | 20230606 | 718 | 107.6 | uS | NOT A LOT | no
TMP_FW_POOLED_T2 | 34 | NA |  | 82.1 | uS | NOT A LOT | no | recalivrated before measurement.
TMP_C_POOLED_T3 | 15 | NA |  | 29.4 | uS | NOT A LOT | no
TMP_FW_POOLED_T3 | 1 | NA |  | 94.07 | uS | NOT A LOT | no
TMP_FW_SOURCE |  | 20230607 | 1300 | 109.7 | uS | VERY LITTLE | no
TMP_SW_B4 |  | 20230607 | 800 | 2591 | uS | VERY LITTLE | yes
TMP_FW_POOLED_T4 | 40 |  |  | 83.06 | uS | VERTY LITTLE | no | Did not have enough to fill chamber completely
TMP_SW_SOURCE_hr2 | 23 |  |  | 12.54 | mS | NOT A LOT | no
TMP_SW_SOURCE_hr0 | 2 |  |  | 3454 | uS | NOT A LOT | yes
TMP_SW_SOURCE |  | 20230606 | 1301 | 11.62 | mS | NOT A LOT | no
TMP_FW_SOURCE |  | 20230607 | 611 | 28.14 | uS | VERY LITTLE | yes | Do not have enough to fill chamber. Diluted by a factor of 4 by using 2 mL of porewater and 8 mL of DI H20
TMP_SW_H6 |  | 20230612 |  | 9753 | uS | NOT A LOT | no
TMP_SW_SOURCE_hr1 | 35 |  |  | 12.45 | mS | NOT A LOT | no
TMP_FW_WELL_T2 | 20 |  |  | 14.13 | uS | VERY LITTLE | yes
TMP_FW_SOURCE_hr2 | 5 |  |  | 32.44 | uS | NOT A LOT | yes
TMP_FW_D5 |  | 20230607 | 1600 | 15.86 | uS | NOT A LOT | yes
TMP_SW_I5 |  | 20230607 | 1600 | 2467 | uS | ALMOST NOTHING | yes
TMP_SW_D5 |  | 20230614 |  | 2591 | uS | NOT A LOT | yes
TMP_SW_SOURCE_hr4 | 30 |  |  | 12.79 | mS | NOT A LOT | no
TMP_FW_POOLED_PREW | 19 |  |  | 51.24 | uS | VERY LITTLE | yes
TMP_C_POOLED | 4 | 20220613 |  | 45.53 | uS | PLENTY | no
TMP_SW_C3 |  | 20230606 |  | 8821 | uS | NOT A LOT | no
TMP_FW_F6 |  | 20230627 |  | 43.95 | uS | NOT A LOT | no
TMP_FW_C3 |  | 20230606 |  | 19.52 | uS | VERY LITTLE | yes
TMP_EST_D1C |  |  | 1500 | 12.33 | mS | FILLED BOTTLE | no
TMP_FW_POOLED | 22 | 20220615 |  | 17.45 | uS | VERY LITTLE | yes
TMP_FW_SOURCE_hr3 | 21 |  |  | 120.3 | uS | NOT A LOT | no
TMP_SW_B4 |  | 20230607 | 1600 | 2667 | uS | ALMOST NOTHING | yes | Filled about 3/4 of the chamber
TMP_C_H6 |  | 20230707 |  | 13.83 | uS | ALMOST NOTHING | yes
TMP_SW_B4 |  | 20230603 |  | 71.85 | uS | NOT A LOT | no
TMP_SW_B4 |  | 20230627 |  | 6065 | uS | NOT A LOT | no | 2.7
TMP_SW_ESTUARY |  | 20230607 | 1346 | 3212 | uS | ALMOST NOTHING | yes
TMP_FW_F4 |  | 20230607 | 800 | 65.71 | uS | NOT A LOT | no
TMP_SW_D5 |  | 20230607 | 800 | 2014 | uS | NOT A LOT | yes
TMP_FW_C3 |  | 20230710 |  | 44.92 | uS | NOT A LOT | no
TMP_FW_D5 |  | 20230603 |  | 36.43 | uS | NOT A LOT | no
TMP_FW_F4 |  | 20230627 |  | 45.84 | uS | MUCHO | no
TMP_SW_D5 |  | 20230606 |  | 6128 | uS | NOT A LOT | no
TMP_SW_SOURCE |  | 20230607 | 1255 | 12.01 | mS | NOT A LOT | no
TMP_FW_I5 |  | 20230608 |  | 144.1 | uS | NOT A LOT | no
TMP_SW_E3 |  | 20230627 |  | 3612 | uS | NOT A LOT | no
TMP_FW_I5 |  | 20230603 |  | 164.7 | uS | MUCHO | no
TMP_FW_H3 |  | 20230627 |  | 47.99 | uS | NOT A LOT | no
TMP_FW_D5 |  | 20230606 |  | 55.47 | uS | NOT A LOT | no
TMP_FW_F4 |  | 20230606 |  | 61.69 | us | NOT A LOT | no
TMP_FW_I5 |  | 20230614 |  | 163.8 | uS | NOT A LOT | no
TMP_C_D5 |  | 20230628 |  | 25.2 | uS | MUCHO | no
TMP_C_C6 |  | 20230603 |  | 32.34 | uS | VERY LITTLE | yes
TMP_FW_F4 |  | 20230710 |  | 34.36 | uS | NOT A LOT | no
TMP_SW_D5 |  | 20230607 | 1600 | 7272 | uS | NOT A LOT | no
TMP_SW_E3 |  | 20230607 | 800 | 2193 | uS | NOT A LOT | yes
TMP_SW_E3 |  | 20230614 |  | 5144 | uS | NOT A LOT | no
TMP_SW_C3 |  | 20230627 |  | 5627 | uS | NOT A LOT | no
TMP_C_15 |  | 20230603 |  | 42.67 | uS | MUCHO | no
TMP_SW_C3 |  | 20230707 |  | 5528 | uS | NOT A LOT | no
TMP_FW_H3 |  | 20230607 | 1600 | 55.6 | uS | NOT A LOT | no
TMP_FW_H3 |  | 20230606 |  | 14.39 | us | VERY LITTLE | yes
TMP_SW_B4 |  | 20230617 |  | 2860 | uS | VERY LITTLE | yes
TMP_FW_15 |  | 20230607 | 1600 | 113.7 | uS | NOT A LOT | no
TMP_C_H6 |  | 20230603 |  | 67.6 | uS | NOT A LOT | no
TMP_SW_H6 |  | 20230627 |  | 3293 | uS | NOT A LOT | no
TMP_FW_15 |  | 20230607 | 800 | 141.7 | uS | NOT A LOT | no
TMP_FW_F4 |  | 20230607 | 1600 | 18.01 | uS | NOT A LOT | yes
TMP_FW_D5 |  | 20230512 |  | 56.57 | uS | NOT A LOT | no
TMP_SW_ESTUARY |  | 20230607 | 1700 | 12.85 | mS | NOT A LOT | no | Eh
TMP_FW_C3 |  | 20230627 |  | 50.96 | uS | NOT A LOT | no
TMP_SW_B4 |  | 20230707 |  | 5695 | uS | NOT A LOT | no
TMP_SW_SOURCE |  | 20230606 | 709 | 4665 | uS | VERY LITTLE | no
TMP_SW_SOURCE |  | 20230607 | 1515 | 12.87 | mS | NOT A LOT | no
TMP_SW_D5 |  | 20230617 |  | 5903 | uS | MUCHO | no
TMP_SW_ESTUARY |  | 20230607 | 710 | 13.24 | mS | NOT A LOT | no
TMP_SW_F6 |  | 20230707 |  | 4144 | uS | NOT A LOT | no
TMP_SW_E3 |  | 20230608 |  | 1908 | uS | ALMOST NOTHING | yes | Filled about 3/4 of the chamber
TMP_FW_D5 |  | 20230607 | 800 | 57.24 | uS | NOT A LOT | no
TMP_SW_C3 |  | 20230607 | 800 | 10.07 | mS | NOT A LOT | no
TMP_SW_C3 |  | 20230608 |  | 3011 | uS | VERY LITTLE | yes
TMP_SW_C3 |  | 20230607 | 1600 | 10.82 | mS | VERY LITTLE | no
TMP_C_I5 |  | 20230710 |  | 32.57 | uS | NOT A LOT | no
TMP_FW_C3 |  | 20230608 |  | 0.27 | uS | ALMOST NOTHING | yes | Filled half of chamber
TMP_SW_ESTUARY |  | 20230606 | 1236 | 11.16 | mS | NOT A LOT | no
TMP_SW_SOURCE |  | 20230607 | 621 | 12.08 | mS | NOT A LOT | no
TMP_FW_SOURCE |  | 20230607 | 1519 | 0.05 | uS | ALMOST NOTHING | yes | Filled half of chamber
TMP_SW_ESTUARY |  | 20230606 | 1524 | 11.94 | mS | NOT A LOT | no
TMP_C_H8 |  | 20230710 |  | 249.3 | uS | NOT A LOT | no
TMP_SW_B4 |  | 20230614 |  | 2893 | uS | VERY LITTLE | no
TMP_SW_F4 |  | 20230627 |  | 3604 | uS | NOT A LOT | no
TMP_SW_ESTUARY |  | 20230606 | 632 | 12.82 | mS | VERY LITTLE | no
TMP_SW_F6 |  | 20230614 |  | 2014 | uS | VERY LITTLE | yes
TMP_SW_E3 |  | 20230607 | 1600 | 7224 | uS | VERY LITTLE | no
TMP_FW_H6_T2 |  | 20230710 |  | 95.99 | uS | NOT A LOT | no
TMP_FW_H6 |  | 20230608 |  | 30.74 | uS | ALMOST NOTHING | yes
TMP_SW_C6 |  | 20230627 |  | 3922 | uS | NOT A LOT | no
TMP_SW_SOURCE |  | 20230606 | 1502 | 4009 | uS | VERY LITTLE | no
TMP_FW_D5 |  | 20230627 |  | 54.41 | uS | NOT A LOT | no
TMP_FW_D5 |  | 20230710 |  | 42.34 | uS | NOT A LOT | no
TMP_C_I5 |  | 20230628 |  | 29.57 | uS | MUCHO | no
TMP_FW_I5 |  | 20230617 |  | 160.7 | uS | VERY LITTLE | no
TMP_FW_E3 |  | 20230627 |  | 48.22 | uS | NOT A LOT | no
TMP_FW_I5 |  | 20230606 |  | 113.8 | uS | NOT A LOT | no